## Slide 1: LYRA Status
PROBA2 workshop
February 2011
M. Dominique + LYRA team

## Slide 2: LYRA highlights
 | Ly | Hz | Al | Zr
 | 120-123 nm | 190-222 nm | 17-80 nm + <5nm | 6-20 nm + <2nm
Unit1 | MSM - diamond | PIN- diamond | MSM- diamond | P-N Silicon
Unit2 | MSM- diamond | PIN- diamond | MSM- diamond | MSM- diamond
Unit3 | P-N Silicon | PIN- diamond | P-N Silicon | P-N Silicon
Notes: λ = 465 nm and 390 nm

## Slide 3: One year of activity
Notes: 3 eclipses: 15/01/2010, 11/07/2010, 04/01/2011

## Slide 4: One year of activity

## Slide 5: One year of activity

## Slide 6: GI program
Kariyappa (Indian Inst. of Astrophysics, Bangalore):
  Analyze the variability in Lyra channels 3 and 4 from SWAP and AIA 304A images
  Determine the energy output of flares
  analyze the dynamics and heating of corona, looking for bright points in SWAP and AIA 193A images
G. Cessateur (LPC2E, Orléans)
  Analysis of the occultation process
  Reconstruction of solar UV irradiance
M. Snow (LASP,Colorado)
  Analysis of unit2 detectors degradation
  Cross–calibration with Sorce/Solstice

## Slide 7: Degradation of unit 2
> 95%
> 95%
~ 90%
~ 25%
Notes: Now I made some calculations. These Lyman-alpha precursors had a strength above the usual level of the day ("delta irradiance") of approx 1 kHz or less. Channel 2-1 lost approx 96% of its initial strength relative to First Light day (492 kHz), and about 90% of its strength since begin-February (~ 224 kHz) when we observed the few precursors. Now we are around ~ 27 kHz. Consequently, the delta irradiance of a flare precursor would now also be 10% of its strength as measured in February, thus below 0.1 kHz. The (thermal, electronic?) noise observed in an arbitrary interval in February (08 Feb 2010, 13:45 UTC) was varying between 11242 and 11230 counts, i.e. 224.84 to 224.60 kHz, or 0.24 kHz. A delta signal of 1 kHz was significantly higher that that, therefore we were able to see it, e.g. here: http://solwww.oma.be/users/dammasch/flare7650.eps The noise observed in an arbitrary interval in December (01 Dec 2010, 05:30 UTC) was varying between 1255 and 1262 counts, or 25.10 to 25.24 kHz, or 0.14 kHz. An expected delta signal of 0.1 kHz from a flare precursor would not be discernible in this kind of noise any longer. In other words, even if there are still flare precursors in Lyman alpha, we will not be able to see them any more, because they are hidden by the detector noise.

## Slide 8: Degradation of units 1 and 3
30%
15%
/
/
10%
20%
10%
/
Notes: Now I made some calculations. These Lyman-alpha precursors had a strength above the usual level of the day ("delta irradiance") of approx 1 kHz or less. Channel 2-1 lost approx 96% of its initial strength relative to First Light day (492 kHz), and about 90% of its strength since begin-February (~ 224 kHz) when we observed the few precursors. Now we are around ~ 27 kHz. Consequently, the delta irradiance of a flare precursor would now also be 10% of its strength as measured in February, thus below 0.1 kHz. The (thermal, electronic?) noise observed in an arbitrary interval in February (08 Feb 2010, 13:45 UTC) was varying between 11242 and 11230 counts, i.e. 224.84 to 224.60 kHz, or 0.24 kHz. A delta signal of 1 kHz was significantly higher that that, therefore we were able to see it, e.g. here: http://solwww.oma.be/users/dammasch/flare7650.eps The noise observed in an arbitrary interval in December (01 Dec 2010, 05:30 UTC) was varying between 1255 and 1262 counts, or 25.10 to 25.24 kHz, or 0.14 kHz. An expected delta signal of 0.1 kHz from a flare precursor would not be discernible in this kind of noise any longer. In other words, even if there are still flare precursors in Lyman alpha, we will not be able to see them any more, because they are hidden by the detector noise.

## Slide 9: LED signal time series
Very little change of detector output when illuminated by LED over the mission.
Bimodal appearance is due to systematic difference between first and second measurements during each observing sequence.
Low detector degradation,
if any

## Slide 10: Temperature evolution
I. Dammasch + M. Snow
A. De Groof
Temperature evolution
Dark current in Lyman alpha
Notes: Augmentation de 6,3-6,7°

## Slide 11: Impact of the particle environment

## Slide 12: Jumps
jumps in unit 2 herzberg channel (and zirconium in a couple of occasions)
from the beginning of the mission
amplitude of a few kHz
complicates the calibration
hides solar variability
usually associated to spacecraft maneuvres or cover movement

## Slide 13: State of the data processing pipeline
LY-TMR:
LY-EDG
LY-BSDG
Telemetry packets
Raw data (in counts)
Lv1: Engineering data (in Hz)
fits
fits
fits
fits
Lv2: Calibrated data
(in W/m²)
Other tools
Higher level
data products
Current state
Not distributed
After each
contact
After each
contact
Plots + flare list
irregularly
Reprocessed data available
http://proba2.sidc.be/
Notes: What is corrected in the data, and what remains
13

## Slide 14: Calibrated data
Hz channel * 0.01 !
Calibration process:
  Dark current removed
  Degradation substracted
  Conversion into physical units
  Still in the data
    Flat-field effects

## Slide 15: Timeline
2006
2004
2008
Launch
2010
2002
Mission Development
Proposal
2012
Launch
11/2009
01/2010
03/2010
05/2010
07/2010
09/2010
First Light
Commissioning
Engineering
data available
11/2010
01/2011
03/2011
05/2011
07/2011
Guest Investigators
First light
paper
Notes: Publication of first light paper
Mise en ligne des données processées
Détection de flare automatique

## Slide 16
Collaborations